Application No.:	  353762

Equipment Category – Liquid Transfer and Handling - Tank Truck and/or Rail Car Bulk Loading, Class A

| 1. general information |  |  | DATE: 10/1/99 |
| --- | --- | --- | --- |
| a. manufacturer: |  |  |  |
| b. type: Truck Loading Station |  | c. model: |  |
| d. style: |  |  |  |
| e. applicable aqmd regulation xi rules: |  |  |  |
| f. cost: $ ( ) source of cost data: |  |  |  |
| g. operating schedule: 24 hrs/day 7 days/wk 52 wks/yr |  |  |  |

| 2. EQUIPMENT INFORMATION | Other equipment |  | App. No.: 353762 |
| --- | --- | --- | --- |
| A. FUNCTION: To load organic liquids into trucks to be delivered to customers. |  |  |  |
| b. size/dimension/capacity: Maximum total filling capacity of 60,000 gallons per day for all four truck loading stations. |  |  |  |
| c. blowers: |  | d. total flow rate: scfm |  |
| e. material stored/processed/handled: Commonly used organic liquids, such as mineral spirits, styrene, etc. |  |  |  |
| f. throughput/process rate/usage rate: Maximum volume loaded at all the truck loading stations at the facility shall not exceed 4,000,000 gallons of volatile organic liquids in any one year. |  |  |  |

| 3. COMPANY INFORMATION |  |  | App. No.: 353762 |
| --- | --- | --- | --- |
| A. NAME: Van Waters & Rogers |  |  |  |
| B. ADDRESS: 2600 S. Garfield Avenue CITY: Commerce STATE: CA ZIP: 90040 |  |  |  |
| C. CONTACT PERSON: Nick Gardner |  | D. PHONE NO.: (323)881-7158 |  |

| 4. PERMIT INFORMATION |  |  | App. No.: 353762 |
| --- | --- | --- | --- |
| A. AGENCY: SCAQMD |  |  |  |
| B. AGENCY CONTACT PERSON: Belinda C. Wan |  | C. PHONE NO.: (909)396-2532 |  |
| D. PERMIT TO CONSTRUCT INFORMATION: P/C NO.: 353762 ISSUANCE DATE: 9/9/1999 |  |  |  |
| E. START-UP DATE: |  |  |  |
| F. PERMIT TO OPERATE INFORMATION: P/O NO.: ISSUANCE DATE: |  |  |  |

| 5. EMISSION INFORMATION |  |  | App. No.: 353762 |
| --- | --- | --- | --- |
| A. PERMIT |  |  |  |
| A1. PERMIT LIMIT: (1) The maximum volume loaded at all the truck loading stations at this facility shall not exceed 4,000,000 gallons of organic liquids in any one year. Materials with an initial boiling point greater than 150 degrees Centigrade, or organic vapor pressure less than 0.10 psia at 70 degrees Fahrenheit are not counted towards the 4,000,000 gallons/year facility throughput limit. (2) The maximum VOC emissions from the facility shall not exceed 4 tons/year. (3) No carcinogenic materials identified in AQMD Rule 1401 (as amended March 12, 1999) shall be used at the truck loading stations. (4) The vapor pressure of organic liquids used at the truck loading stations shall not exceed that of hexane, except for exempt compounds as defined in Rule 102. |  |  |  |
| A2. bact/lAer DETERMINATION: Afterburner |  |  |  |
| B. CONTROL TECHNOLOGY |  |  |  |
| B1. MANUFACTURER/SUPPLIER: John Zink |  |  |  |
| B2. TYPE: Thermal Oxidizer - Direct Flame |  |  |  |
| B3. DESCRIPTION: Thermal Oxidizer, John Zink, Model ZCS-1-4-20-X-3/10, 3'-8" Dia. x 14'-0" H., Natural Gas Fired, 3.6 MMBtu/hr, With Two Burners, One Burner for the Passive Sources and One Burner for the Blower-Assisted Sources |  |  |  |
| B4. CONTROL EQUIPMENT PERMIT APPLICATION DATA: P/C NO.: 353767 ISSUANCE DATE: 9/9/1999 P/O NO.: ISSUANCE DATE: |  |  |  |
| B5. WASTE AIR FLOW TO CONTROL EQUIPMENT: FLOW RATE: ACTUAL CONTAMINANT LOADING: BLOWER HP: 20 HP |  |  |  |
| B6. WARRANTY: |  |  |  |
| B7. PRIMARY POLLUTANTS: VOC |  |  |  |
| B8. SECONDARY POLLUTANTS: Combustion contaminants |  |  |  |
| B9. SPACE REQUIREMENT: |  |  |  |
| B10. LIMITATIONS: |  |  |  |
| B11. LOCATION OF PRIOR DEMONSTRATION & AGENCY: FACILITY: CONTACT PERSON: PHONE NO.: AGENCY: ADDRESS: CONTACT PERSON: PHONE NO.: |  |  |  |
| B12. OPERATING HISTORY: |  |  |  |
| B13. SOURCE TEST/PERFORMANCE DATA ANALYSIS: DATE OF SOURCE TEST: CAPTURE EFFICIENCY: DESTRUCTION EFFICIENCY: OVERALL EFFICEINCY: PERFORMANCE DATA: |  |  |  |
| B14. SOURCE TEST CONDITIONS/PERFORMANCE DATA: |  |  |  |
| C. COST |  |  |  |
| C1. CONTROL EQUIPMENT COST: check if installation cost is included in capital cost CAPITAL: $ INSTALLATION: $ ( ) SOURCE OF COST DATA: |  |  |  |
| C2. ANNUAL OPERATIONAL/MAINTENANCE COST: $ ( ) SOURCE OF COST DATA: |  |  |  |
| D. DEMONSTRATION OF COMPLIANCE |  |  |  |
| D1. STAFF PERMFORMING FIELD EVALUATION: ENGINEER'S NAME: INSPECTOR'S NAME: DATE: |  |  |  |
| D2. COMPLIANCE DEMONSTRATION: |  |  |  |
| D3. VARIANCE: NO. OF VARIANCES: DATES: CAUSES: |  |  |  |
| D4. VIOLATION: NO. OF VIOLATIONS: DATES: CAUSES: |  |  |  |
| D5. FREQUENCY OF MAINTENANCE: |  |  |  |

| 6. COMMENTS |  | App. No.: 353762 |
| --- | --- | --- |
| The applicant is planning to install four truck loading stations at the facility. The permit application numbers for the other three truck loading stations are 353763-5. All four truck loading stations will be vented to the thermal oxidizer included in application number 353767. The assumed overall efficiency of the thermal oxidizer is 95% VOC control. A temperature of not less than 1400 degrees Fahrenheit will be maintained in the thermal oxidizer when the equipment it serves is in operation, and no liquid wastes will be burned in the thermal oxidizer. |  |  |