Application No.:	  PA-51-1551

Equipment Category – Wastewater Systems - Air Stripping

| 1. general information |  |  | DATE: 2/8/2002 |
| --- | --- | --- | --- |
| a. manufacturer: |  |  |  |
| b. type: |  | c. model: |  |
| d. style: |  |  |  |
| e. applicable aqmd regulation xi rules: 1176 |  |  |  |
| f. cost: $ () source of cost data: |  |  |  |
| g. operating schedule: 24 hrs/day 7 days/wk 52 wks/yr |  |  |  |

| 2. EQUIPMENT INFORMATION |  |  | App. No.: PA-51-1551 |
| --- | --- | --- | --- |
| A. FUNCTION: Waste water treatment system at chemical plant. VOC-contaminated water is air stripped of VOC. |  |  |  |
| b. size/dimension/capacity: |  |  |  |
| c. blowers: |  | d. total flow rate: scfm |  |
| e. material stored/processed/handled: Plant produces acetone, phenol and alpha methyl styrene by oxidation of cumene. |  |  |  |
| f. throughput/process rate/usage rate: |  |  |  |

| 3. COMPANY INFORMATION |  |  | App. No.: PA-51-1551 |  |
| --- | --- | --- | --- | --- |
| A. NAME: Sunoco Chemicals |  |  |  | B. SIC CODE: |
| C. ADDRESS: 4700 Bermuda Street CITY: Philadelphia STATE: PA ZIP: |  |  |  |  |
| D. CONTACT PERSON: Barbara Flowers |  | E. PHONE NO.: 215-537-2488 |  |  |

| 4. PERMIT INFORMATION |  |  |  | App. No.: PA-51-1551 |
| --- | --- | --- | --- | --- |
| A. AGENCY: Pennsylvania DEP |  | B. application type: |  |  |
| C. AGENCY CONTACT PERSON: Roger Fey |  |  | D. PHONE NO.: 215-685-7575 |  |
| E. PERMIT TO CONSTRUCT/OPERATE INFORMATION: P/C NO.: PA-51-1551 ISSUANCE DATE: 7/27/1999 check if no p/c P/O NO.: ISSUANCE DATE: |  |  |  |  |
| F. START-UP DATE: 1992 |  |  |  |  |

| 5. EMISSION INFORMATION |  |  |  | App. No.: PA-51-1551 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| A. PERMIT |  |  |  |  |  |  |
| A1. PERMIT LIMIT: Waste water is required to be air-stripped and the stripper vented to a thermal oxidizer with minimum of 95% destruction efficiency. |  |  |  |  |  |  |
| A2. bact/lAer DETERMINATION: Same as above permit requirements |  |  |  |  |  |  |
| A3. BASIS OF THE BACT DETERMINATION: The permit conditions listed above in 5.A.A1 are included in a recent Pennsylvania SIP revision (Federal Register, August 31, 2001, Vol. 66, No. 170, pp 45933-45938) and thus automatically qualify as BACT. |  |  |  |  |  |  |
| B. CONTROL TECHNOLOGY |  |  |  |  |  |  |
| B1. MANUFACTURER/SUPPLIER: Custom-built afterburner with heat exchanger supplied by Process Combustion Corp. |  |  |  |  |  |  |
| B2. TYPE: Air stripper is a packed column, and thermal oxidizer is direct flame type with shell-and-tube type recuperative heat exchanger. |  |  |  |  |  |  |
| B3. DESCRIPTION: Air to stripper is regulated to control acetone level in treated water (sampled every 2 hrs). Thermal oxidizer, natural gas fired, is designed for 1500F chamber temperature with 0.8 sec residence time at temperature. Design gas outlet temperature (from heat exchanger) is 800F. Burner is sized for max. heat input of 5.1 MMBtu/hr. This was a retrofit system. Groundwater contaminated with benzene, ethylbenzene, toluene and xylenes is also treated in this system. Contaminants found in stripper vent gas include acetone, acetophenone, benzene, cumene, methanol, MEK, a-methyl styrene, styrene and other hydrocarbons. |  |  |  |  |  |  |
| B4. CONTROL EQUIPMENT PERMIT APPLICATION DATA: P/C NO.: ISSUANCE DATE: P/O NO.: ISSUANCE DATE: |  |  |  |  |  |  |
| B5. WASTE AIR FLOW TO CONTROL EQUIPMENT: FLOW RATE: Approx. 6000 scfm (510 gpm water to stripper [includes 90 gpm groundwater from coal tar site]) ACTUAL CONTAMINANT LOADING: Source test showed 1.25% TGNMO (as C) in air to oxidizer (THC is monitored, and system trips if LEL is approached too closely). BLOWER HP: |  |  |  |  |  |  |
| B6. WARRANTY: |  |  |  |  |  |  |
| B7. PRIMARY POLLUTANTS: VOC: acetone, methanol, cumene and others |  |  |  |  |  |  |
| B8. SECONDARY POLLUTANTS: NOx, CO, PM |  |  |  |  |  |  |
| B9. SPACE REQUIREMENT: |  |  |  |  |  |  |
| B10. LIMITATIONS: |  |  |  |  |  | B11. UNUSED |
| B12. OPERATING HISTORY: |  |  |  |  |  |  |
| B13. UNUSED |  |  | B14. UNUSED |  |  |  |
| ### C. CONTROL EQUIPMENT COSTS |  |  |  |  |  |  |
| C1. CAPITAL COST: check if installation cost is included in capital cost EQUIPMENT: $ INSTALLATION: $ () SOURCE OF COST DATA: |  |  |  |  |  |  |
| C2. ANNUAL OPERATING COST: $ () SOURCE OF COST DATA: |  |  |  |  |  |  |
| D. DEMONSTRATION OF COMPLIANCE |  |  |  |  |  |  |
| D1. STAFF PERMFORMING FIELD EVALUATION: ENGINEER'S NAME: INSPECTOR'S NAME: DATE: |  |  |  |  |  |  |
| D2. COMPLIANCE DEMONSTRATION: Test required every 5 years |  |  |  |  |  |  |
| D3. VARIANCE: NO. OF VARIANCES: DATES: CAUSES: |  |  |  |  |  |  |
| D4. VIOLATION: NO. OF VIOLATIONS: DATES: CAUSES: |  |  |  |  |  |  |
| D5. MAINTENANCE REQUIREMENTS: |  |  |  |  | D6. UNUSED |  |
| D7. SOURCE TEST/PERFORMANCE DATA RESULTS AND ANALYSIS: DATE OF SOURCE TEST: 9/11/97 CAPTURE EFFICIENCY: DESTRUCTION EFFICIENCY: 97.2 (TGNMO) OVERALL EFFICEINCY: SOURCE TEST/PERFORMANCE DATA: OPERATING CONDITIONS: TEST METHODS: TGNMO-Method 25, and speciated-Method 18 |  |  |  |  |  |  |

| 6. COMMENTS |  | App. No.: PA-51-1551 |
| --- | --- | --- |
| Destruction efficiency of some trace constituents (e.g., benzene) not proven in the source test because outlet concentrations were below the detection limit of the method. This system has proven to be very reliable over the years. There are no NOx or CO limits on the thermal oxidizer. |  |  |