south coast air quality management district

Final Environmental Assessment for:

Proposed Amended Rule 1470 – Requirements for Stationary Diesel-Fueled Internal Combustion and Other Compression Ignition Engines

February 17, 2005

SCAQMD No. 050118MK

Executive Officer
Barry R. Wallerstein, D.Env.

Deputy Executive Officer
Planning, Rule Development and Area Sources
Elaine Chang, DrPH

Assistant Deputy Executive Officer
Planning, Rule Development and Area Sources
Laki Tisopulos, Ph.D., P.E.

Planning and Rules Manager
Susan Nakamura

Author:	Michael Krause		Air Quality Specialist

Technical	Chris Abe		Air Quality Specialist
Assistance:	Andrew Lee, P.E.	Program Supervisor

Reviewed By: 	Steve Smith, Ph.D.	Program Supervisor

Barbara Baird		Principal District Counsel

South coast air quality management district

governing board

Chairman:	WILLIAM A. BURKE, Ed.D.

Speaker of the Assembly Appointee

Vice Chairman:	S. ROY WILSON, Ed.D.

Supervisor, Fourth District

Riverside County Representative

MEMBERS:

MICHAEL D. ANTONOVICH

Supervisor, Fifth District

Los Angeles County Representative

JANE CARNEY

Senate Rules Committee Appointee

BEATRICE J.S. LAPISTO-KIRTLEY

Mayor, City of Bradbury

Cities Representative, Los Angeles County, Eastern Region

RONALD O. LOVERIDGE

Mayor, City of Riverside

Cities Representative, Riverside County

GARY OVITT

Supervisor, Fourth District

San Bernardino County Representative

JAN PERRY

Councilmember, Ninth District

Cities Representative, Los Angeles County, Western Region

Miguel A. Pulido

Mayor, City of Santa Ana

Cities Representative, Orange County

JAMES SILVA

Supervisor, Second District

Orange County Representative

CYNTHIA VERDUGO-PERALTA

Governor's Appointee

DENNIS YATES

Mayor, City of Chino

Cities Representative, San Bernardino County

EXECUTIVE OFFICER:

BARRY R. WALLERSTEIN, D.Env.

PREFACE

The Draft Environmental Assessment (EA) for the proposed amendments to Rule 1470 – Requirements for Stationary Diesel-Fueled Internal Combustion and Other Compression Ignition Engines was circulated for a 30-day public review and comment period from January 18, 2005 to February 16, 2005.  No public comment letters were received and minor modifications were made to the Draft EA so it is now a Final EA.  Deletions and additions to the text of the EA are denoted using strikethrough and underlined, respectively.  Changes to the project description are minor and do not change the conclusions made in the Draft EA or worsen the environmental impact analyzed in the Draft EA.  Pursuant to CEQA Guidelines §15073.5(c)(2), recirculation is not necessary since the information provided does not result in new avoidable significant effects.

Table of contents

CHAPTER 1 - PROJECT DESCRIPTION

Introduction 		1-1

Legislative Authority		1-1

California Environmental Quality Act		1-2

Project Location		1-3

Project Background		1-3

Project Objective		1-5

Project Description		1-5

Affected Facilities and Engines		1-8

CHAPTER 2 - ENVIRONMENTAL CHECKLIST

Introduction			2-1

General Information		2-1

Environmental Factors Potentially Affected		2-2

Determination		2-2

Environmental Checklist and Discussion		2-4

APPENDIX A - Proposed Amended Rule 1470

List of Figures

Figure 1-1: South Coast Air Quality Management District		1-4

List of Tables

Table 2-1: Air Quality Significance Thresholds		2-8

Table 2-2: Assumptions Used to Calculate Estimated Emission 
Reductions Foregone		2-12

Table 2-3: Estimated Emission Reductions Foregone		2-13

C H A P T E R   1  -  P R O J E C T   D E S C R I P T I O N

Introduction

Legislative Authority

California Environmental Quality Act

Project Location

Project Background

Project Objectives

Project Description

Affected Facilities and Engines

# Introduction

Rule 1470 – Requirements for Stationary Diesel-Fueled Internal Combustion and Other Compression Ignition Engines, was adopted by the South Coast Air Quality Management District (SCAQMD) Governing Board on April 2, 2004.  The rule implements the Airborne Toxic Control Measure (ATCM) for Stationary Compression Ignition Engines that was approved by the California Air Resources Board (CARB) in February 2004.  Rule 1470 also established more stringent requirements than the CARB ATCM for engines located on school grounds or within 100 meters of existing schools.  The CARB ATCM was approved contingent upon CARB staff making modifications to regulatory language, followed by a 15-day public comment period.  Following three supplemental 15-day notices (May 12, 2004, July 1, 2004, and July 21, 2004); the ATCM was approved by the state Office of Administrative Law in November 2004 and filed with the Secretary of State.  The CARB ATCM is now operative in the state as of December 8, 2004.

Changes to the ATCM since the initial CARB approval in February 2004 were not reflected in Rule 1470 since the rule was adopted by the SCAQMD Governing Board before the ATCM, including the changes, were approved by the state.  Proposed amendments to Rule 1470 incorporate these changes including a modification to the compliance date for rule requirements governing emergency standby diesel-fueled demand response program engines (greater than 50 brake horsepower) under interruptible service contracts (ISCs), modifications to the definitions, and the addition of clarifying language.

Pursuant to the California Environmental Quality Act (CEQA) (California Public Resources Code §21000 et seq.), this Environmental Assessment (EA) includes an analysis of the potential adverse environmental impacts of implementing proposed amended Rule (PAR) 1470.  The environmental analysis in Chapter 2 concluded that the delay in emissions reductions from the modified compliance date will not result in an adversely significant impact on air quality.

# LEGISLATIVE AUTHORITY

The California Legislature created the SCAQMD in 1977 (Lewis-Presley Air Quality Management Act, California Health and Safety Code §§ 40400 et seq.) as the agency responsible for developing and enforcing air pollution control rules and regulations in the Basin and portions of the Salton Sea Air Basin and Mojave Desert Air Basin.  By statute, SCAQMD is required to adopt an air quality management plan (AQMP) demonstrating compliance with all state and federal ambient air quality standards for the District [California Health and Safety Code §40460(a)].  Furthermore, SCAQMD must adopt rules and regulations that carry out the AQMP [California Health and Safety Code, §40440(a)].

According to Health and Safety Code §39656, California legislature has delegated the air districts, including the SCAQMD, to establish and implement a program to regulate TACs.  The Health and Safety Code §39666(d) specifies that local air agencies must implement and enforce or propose regulations to enact an ATCM no more than 120 days (six months) after CARB adopts or implements it, or they will automatically go into effect.

In 1998, CARB identified diesel particulate matter (PM) as a TAC and since Rule 1470 regulates diesel PM emissions, the public exposure to diesel PM will be reduced.  As previously noted, the SCAQMD already adopted the ATCM, but included more stringent provisions for equipment located at or within 100 meters of existing schools.  The SCAQMD’s authority to establish more stringent emission standards and operating requirements is consistent with the requirements of Health and Safety Code §39666(d), which gives the SCAQMD the authority to adopt a rule that is as stringent or more stringent than the ATCM.

# CALIFORNIA ENVIRONMENTAL QUALITY ACT

PAR 1470 is a "project" as defined by CEQA (California Public Resources Code §21080.5).  SCAQMD is the lead agency for the proposed project and has prepared appropriate environmental analysis pursuant to its certified regulatory program (SCAQMD Rule 110).  California Public Resources Code §21080.5 allows public agencies with regulatory programs to prepare a plan or other written document in lieu of an environmental impact report (EIR) once the Secretary of the Resources Agency has certified the regulatory program.  The SCAQMD’s regulatory program was certified by the Secretary of the Resources Agency on March 1, 1989, and is codified as SCAQMD Rule 110.

CEQA requires that the potential adverse environmental impacts of proposed projects be evaluated and that feasible methods to reduce or avoid significant adverse environmental impacts of these projects be identified.  To fulfill the purpose and intent of CEQA, the SCAQMD has prepared this EA to address the potential adverse environmental impacts associated with adopting and implementing PAR 1470.  This Draft EA is intended to: (a) provide the lead agency, responsible agencies, decision makers and the general public with detailed information on the environmental effects of the proposed project; and, (b) to be used as a tool by decision makers to facilitate decision making on the proposed project.

All comments received during the public comment period on the analysis presented in the Draft EA will be responded to and included in the Final EA.  Prior to making a decision on the proposed rule, the SCAQMD Governing Board must review and certify the EA as providing adequate information on the potential adverse environmental impacts of the proposed rule.

SCAQMD’s review of the proposed project shows that the project would not generate significant adverse effects on the environment.  Therefore, pursuant to CEQA Guidelines §15252, no alternatives or mitigation measures are included in this Draft EA.  The analysis in Chapter 2 supports the conclusion of no significant adverse environmental impacts.

# project location

PAR 1470 would apply to the SCAQMD’s entire jurisdiction.  The SCAQMD has jurisdiction over an area of 10,473 square miles (referred to hereafter as the district), consisting of the four-county South Coast Air Basin (Basin) and the Riverside County portions of the Salton Sea Air Basin (SSAB) and the Mojave Desert Air Basin (MDAB).  The Basin, which is a subarea of the SCAQMD’s jurisdiction, is bounded by the Pacific Ocean to the west and the San Gabriel, San Bernardino, and San Jacinto Mountains to the north and east.  The 6,745 square-mile Basin includes all of Orange County and the nondesert portions of Los Angeles, Riverside, and San Bernardino counties.  The Riverside County portion of the SSAB and MDAB is bounded by the San Jacinto Mountains in the west and spans eastward up to the Palo Verde Valley.  The federal nonattainment area (known as the Coachella Valley Planning Area) is a subregion of both Riverside County and the SSAB and is bounded by the San Jacinto Mountains to the west and the eastern boundary of the Coachella Valley to the east (Figure 1-1).

# Project Background

Rule 1470 regulates diesel PM emissions by establishing fuel use specifications, operating requirements and emission standards for new stationary diesel engines less than or equal to 50 brake horsepower (installed after January 1, 2005), as well as new and in-use (existing) stationary diesel engines greater than 50 brake horsepower (installed prior to January 1, 2005).  The rule also establishes recordkeeping, reporting and monitoring requirements, a compliance schedule, test methods and exemptions.

Stationary compression ignition engines are engines that remain in one location for 12 months or longer.  These engines are typically categorized as either prime engines or emergency standby engines.  Prime engines are stationary engines that are not used during emergencies which are used in a wide variety of applications such as compressors, cranes, rock crushers, generators, and agricultural irrigation.  Emergency standby engines are used for emergency back-up electric power generation or pumping of water during emergencies such as power failures or rolling blackouts.  They provide emergency power for a variety of situations, including those which are critical to human life (e.g., hospital and convalescent facility medical support systems) and those which are less critical to human life and safety (e.g., heating and air conditioning systems, communication systems, ventilation and smoke removal systems, sewerage disposal, lighting, and industrial processes).   CARB has estimated that there are approximately 26,300 stationary diesel-fueled engines operating in California, with approximately 19,500 (75 percent) used in emergency standby applications and approximately 6,600 (25 percent) used as prime engines.

Figure 1-1

South Coast Air Quality Management District

Although PAR 1470 is based on the CARB’s ATCM, it establishes more stringent requirements for stationary diesel-fueled emergency standby and prime engines located on school grounds or 100 meters or less from existing schools, resulting in reduced emissions of diesel particulate matter and cancer risk to neighboring schools.  The rule also prohibits non-emergency use (e.g., testing) of diesel emergency standby engines located on school grounds or 100 meters or less from existing schools when school activities are taking place.

A wide variety of private and public entities owning and operating stationary diesel-fueled prime engines and emergency standby engines in the South Coast Air Basin are affected by Rule 1470.  Industries and other affected entities `include manufacturing, food processing and production, power generation, building management, hospitals, refineries, water treatment facilities, telecommunications and broadcasting facilities, quarries, military installations, and schools.

# Project Objectives

The objectives of PAR 1470 are to:

- Provide consistency with CARB’s ATCM compliance requirement for emergency standby ISC diesel-fueled demand response program engines (greater than 50 brake horsepower).

- Provide clarifying rule language.

# PROJECT DESCRIPTION

PAR 1470 is composed of the following detailed components, listed in the order they appear in the rule:

#### (a)	Applicability

No proposed modification to this subdivision of the rule.

(b)	Definitions

- Definitions for “Alternative Diesel Fuel” [paragraph (b)3)] and “CARB Diesel Fuel” [paragraph (b)(6)] have been modified to clarify the title of the ASTM.

- Definitions for “Cancer Risk” [paragraph (b)(7)] and “Hazard Index” [paragraph (b)(29] have been modified to add the agency that authored the methodology document specified in the definitions.

- Definition of “Emergency Standby Engine” [subparagraphs (b)(20)(C),(D) and (E)] to include in-use diesel-fueled compression ignition demand response program (DRP) engines for maintenance and testing, emission testing, initial start-up testing and in response to an impending outage.

- Definition of “Emergency Use” [paragraph (b)(21)] to include allowances for pumping of water to maintain pressure in water distribution systems and to exclude fire training purposes.  Definition of fire training purposes have been moved under the definition for “Maintenance and Testing” [paragraph (b)(37)].

- Definitions for “Maximum Rated Power” [paragraph (b)(39)] and “Rated Brake Horsepower” [paragraph (b)(47)] have been modified to clarify how to determine the engine power output.

- Definition of “New or New CI Engine” [paragraph (b)(41)] has been modified to clarify applicability of relocated engines within the same facility.

- Definition of “Prioritization Score” [paragraph (b)(46)] has been modified to add the organization that authored the guidelines specified in the definition.

- Definitions for “Transmission Constrained Area” [paragraph (b)(58)] and “Transmission Emergency” [paragraph (b)(59)] have been added to the ATCM and, as a result, added to PAR 1470.

(c)	Requirements

- Add language to limit non-emergency operation of emergency engines on school grounds (no non-emergency operation whenever there are school sponsored activities) and engines near to school grounds (no non-emergency operation during certain hours on school days).  [subparagraphs (c)(2)(A), (c)(3)(B), (c)(7)(A), (c)(8)(A)]

- Modify language specifying timing of operating requirements and PM emission standards for in-use emergency standby diesel-fueled compression ignition DRP engines to extend the effective date from an assumed April 2, 2004 to January 1, 2006 for engines enrolled in an ISC prior to January 1, 2005.  [subparagraph (c)(8)(C)]

- Amend fuel and fuel additive requirements to specify different provisions for new engines / in-use prime engines and in-use emergency standby engines.  Effective January 1, 2006, new engines and in-use prime engines can only be fueled with specific “clean” fuels, while in-use emergency standby engines can only have specific “clean” fuels added to their fuel tanks.  [paragraph (c)(1)].  An exemption from this requirement is allowed.  [paragraph (h)(18)]

- Modify language specifying when emergency ICEs can be operated in response to an impending rotating outage to specify that an engine’s permit allows operation “in anticipation of,” as opposed to “as part of,” a rotating outage.  [subparagraphs (c)(2)(B), (c)(3)(A)].

- Modify language specifying when emergency DRP ICEs can be operated in response to an impending outage to:  (1) specify that an engine’s permit allows operation “in anticipation of,” as opposed to “as part of,” a rotating outage; and (2) to delete language allowing operation of DRP ICEs outside of control areas with impending outages.  [subparagraphs (c)(7)(B), (c)(8)(B)]

(d) 	Recordkeeping, Reporting and Monitoring Requirements

- Modify language allowing exemption from submitting records already submitted to SCAQMD.  [subparagraph (d)(1)(D)]

- Modify language pertaining to demonstrating compliance with emission limits to reflect a different subparagraph reference.  [subparagraphs (d)(4)(A), (d)(4)(B)]

- Modify language pertaining to notification of loss of exemption.  [subparagraph (d)(6)(A)]

- Modify reporting requirements for emergency standby engines to require reporting of fuel used and amount of fuel purchased.  [subparagraph (d)(9)(A)]

- Amend reporting requirements for emergency diesel-fueled CI engines used to fulfill the requirements of interruptible service contracts to modify the reporting date from January 31, 2005 to February 1, 2005 for engines enrolled in ISCs prior to January 1, 2005.  [paragraph (d)(10)]

(e) 	Compliance Schedule

- Modify language pertaining to the compliance schedule for owners or operators of three or fewer engines by removing the schedule for post-2007 model year engines.  [paragraph (e)(2)]

(f) 	Emissions Data

No proposed modification for this subdivision of the rule.

(g) 	Test Methods

- Delete Health & Safety Code reference from language allowing the use of alternative test methods.  [paragraph (g)(2]

(h) 	Exemptions

- Add exemption from reporting requirements for new stationary CI engines used in agricultural operations.  [paragraph (h)(4)]

- Add clarifying language to exemption for single cylinder test engines used to determine the cetane number of diesel fuels to specify date for applicable ASTM standard.  [paragraph (h)(5)]

- Modify several exemptions (in-use prime engines required to meet “Risk Management Guidance for the Permitting of New Stationary Diesel-Fueled Engines”, in-use dual-fueled diesel pilot engines using an alternative fuel or an alternative diesel fuel, dual-fueled diesel pilot CI engines using diesel fuel and digester gas and landfill gas, in-use diesel-fueled CI engines that have selective catalytic reduction, and remotely located in-use prime engines) to be limited to only PM requirements.  [paragraph (h)(6), (h)(12), (h)(13), (h)(14), and (h)(17)]

- Simplify exemption for diesel engines used for training U.S. military personnel.  [paragraph (h)(8)]

- Modify an exemption for emergency fire pump assemblies to remove language referencing NFPA 13.  [paragraph (h)(15)]

- Add exemption to allow delay in implementation of fuel requirement revised to incorporate ARB requirements not originally included in the ATCM.  [paragraph (h)(18)]

# Affected Facilities and ENGINES

SCAQMD staff estimates that there are nearly 4,900 facilities with approximately 7,800 stationary diesel-fueled engines in SCAQMD’s jurisdiction.  Of these engines, only around 250 (approximately three percent) are prime engines, with the remainder being emergency engines.

Proposed amendments to the rule will primarily affect owners or operators of in-use emergency standby diesel fueled compression ignition demand response program (DRP) engines and emergency generators enrolled in an ISC.  An ISC is a contractual arrangement in which a utility distribution company provides a lower rate to a nonresidential electrical customer in exchange for the ability to reduce or interrupt the customer’s electrical service during a Stage 2 or Stage 3 alert or during a transmission emergency.  Stage 2 alert is an official forecast or declaration by the California Independent System Operator (ISO) that operating reserves of electrical power will fall or have fallen below five percent, and Stage 3 is declared when power reserves will fall or have fallen below 1.5 percent.  CARB estimates eight percent, or 560 engines of the total diesel emergency engines in the district are enrolled in ISCs.

Because the proposed project allows operators of diesel emergency engines enrolled in ISCs additional time to comply with PM control requirements compared to existing Rule 1470, anticipated PM emission reductions will be foregone.  Chapter 2 includes an analysis of environmental impacts anticipated to occur if PAR 1470 is implemented.

C H A P T E R   2  -  E N V I R O N M E N T A L   C H E C K L I S T

Introduction

General Information

# Environmental Factors Potentially Affected

Determination

Environmental Checklist and Discussion

# INTRODUCTION

The environmental checklist provides a standard evaluation tool to identify a project's adverse environmental impacts.  This checklist identifies and evaluates potential adverse environmental impacts that may be created by the PAR 1470 – Requirements for Stationary Diesel-Fueled Internal Combustion and Other Compression Ignition Engines.

# GENERAL INFORMATION

| Project Title: | Proposed Amended Rule 1470 – Requirements for Stationary Diesel-Fueled Internal Combustion and Other Compression Ignition Engines |
| --- | --- |
| Lead Agency Name: | South Coast Air Quality Management District |
| Lead Agency Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| CEQA Contact Person: | Michael A. Krause (909) 396-2706 |
| Rule Contact Person: | Chris Abe (909) 396-3154 |
| Project Sponsor's Name: | South Coast Air Quality Management District |
| Project Sponsor's Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| General Plan Designation: | Not applicable |
| Zoning: | Not applicable |
| Description of Project: | Rule 1470, adopted by SCAQMD’s Governing Board in April 2004, implements the Airborne Toxic Control Measure (ATCM) for Stationary Compression Ignition Engines approved by the California Air Resources Board (CARB) in February 2004. The SCAQMD is proposing to incorporate changes made to CARB’s ATCM since February 2004. Proposed changes include a modification to the compliance date for rule requirements governing emergency standby diesel-fueled demand response program engines (greater than 50 brake horsepower) under interruptible service contracts, modifications to the definitions, and the addition of clarifying language. |
| Surrounding Land Uses and Setting: | Not applicable |
| Other Public Agencies Whose Approval is Required: | Not applicable |

# environmental factors POTENTIALLY Affected

The following environmental impact areas have been assessed to determine their potential to be affected by the proposed project.  None of the environmental topics are expected to be adversely affected by the proposed project.  An explanation relative to the determination of impacts can be found following the checklist for each area.

|  | Aesthetics |  | Geology and Soils |  | Population/ Housing |
| --- | --- | --- | --- | --- | --- |
|  | Agricultural Resources |  | Hazards and Hazardous Materials |  | Public Services |
|  | Air Quality |  | Hydrology and Water Resources |  | Recreation |
|  | Biological Resources |  | Land Use and Planning |  | Solid/Hazardous Waste |
|  | Cultural Resources |  | Mineral Resources |  | Transportation/Circulation. |
|  | Energy |  | Noise |  | Mandatory Findings |

# DETERMINATION

On the basis of this initial evaluation:

|  | I find the proposed project, in accordance with those findings made pursuant to CEQA Guideline §15252, COULD NOT have a significant effect on the environment, and that an ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
| --- | --- |
|  | I find that although the proposed project could have a significant effect on the environment, there will NOT be significant effects in this case because revisions in the project have been made by or agreed to by the project proponent. An ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
|  | I find that the proposed project MAY have a significant effect(s) on the environment, and an ENVIRONMENTAL ASSESSMENT will be prepared. |
|  | I find that the proposed project MAY have a "potentially significant impact" on the environment, but at least one effect 1) has been adequately analyzed in an earlier document pursuant to applicable legal standards, and 2) has been addressed by mitigation measures based on the earlier analysis as described on attached sheets. An ENVIRONMENTAL ASSESSMENT is required, but it must analyze only the effects that remain to be addressed. |
|  | I find that although the proposed project could have a significant effect on the environment, because all potentially significant effects (a) have been analyzed adequately in an earlier ENVIRONMENTAL ASSESSMENT pursuant to applicable standards, and (b) have been avoided or mitigated pursuant to that earlier ENVIRONMENTAL ASSESSMENT, including revisions or mitigation measures that are imposed upon the proposed project, nothing further is required. |

Date  January 18, 2005	 	Signature: 			
			Steve Smith, Ph.D.	
			Program Supervisor

Planning, Rule Development & Area Sources

# ENVIRONMENTAL CHECKLIST AND DISCUSSION

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| I. AESTHETICS. Would the project: |  |  |  |
| - Have a substantial adverse effect on a scenic vista? |  |  |  |
| - Substantially damage scenic resources, including, but not limited to, trees, rock outcroppings, and historic buildings within a state scenic highway? |  |  |  |
| - Substantially degrade the existing visual character or quality of the site and its surroundings? |  |  |  |
| - Create a new source of substantial light or glare which would adversely affect day or nighttime views in the area? |  |  |  |

# Significance Criteria

The proposed project impacts on aesthetics will be considered significant if:

The project will block views from a scenic highway or corridor.

The project will adversely affect the visual continuity of the surrounding area.

The impacts on light and glare will be considered significant if the project adds lighting which would add glare to residential areas or sensitive receptors.

# Discussion

- a), b) & c):  PAR 1470 will extend the compliance date to lower diesel PM emissions by January 1, 2006 for a limited number of in-use (existing) emergency diesel-fueled DRP engines (greater than 50 brake horsepower) that are enrolled in an ISC prior to January 1, 2005.  The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.  Therefore, no major construction activities or other physical changes to existing facilities where the engines are operating are expected from the proposed project.  Therefore, construction equipment and materials will not be needed and stockpiling of construction materials will not result from the proposed project.  No scenic resources will be damaged and since no new construction of buildings or other structures is anticipated, scenic resources will not be obstructed and the existing visual character of any site in the vicinity of affected facilities will not be degraded.  On the contrary, scenic vistas may improve as PM emissions, which can be visible in the air, will decrease as a result of implementing the proposed project.

- d). There are no components in PAR 1470 that would require construction activities at night.  Therefore, no additional lighting at the facility would be required.  Similarly, PAR 1470 has no provisions that would require affected equipment to operate at night.  Therefore, PAR 1470 is not expected to create a new source of substantial light or glare that would adversely affect day or nighttime views in the area.  Therefore, the proposed project is not expected to create significant adverse aesthetic impacts.

Based on the above consideration, significant adverse impacts to aesthetics are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| II. AGRICULTURE RESOURCES. Would the project: |  |  |  |
| a) Convert Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), as shown on the maps prepared pursuant to the Farmland mapping and Monitoring Program of the California Resources Agency, to non- agricultural use? |  |  |  |
| b) Conflict with existing zoning for agricultural use, or a Williamson Act contract? |  |  |  |
| c) Involve other changes in the existing environment which, due to their location or nature, could result in conversion of Farmland, to non-agricultural use? |  |  |  |

Significance Criteria

Project-related impacts on agricultural resources will be considered significant if any of the following conditions are met:

The proposed project conflicts with existing zoning or agricultural use or Williamson Act contracts.

The proposed project will convert prime farmland, unique farmland or farmland of statewide importance as shown on the maps prepared pursuant to the farmland mapping and monitoring program of the California Resources Agency, to non-agricultural use.

The proposed project would involve changes in the existing environment, which due to their location or nature, could result in conversion of farmland to non-agricultural uses.

# Discussion

- a) - c):  As discussed previously under “Aesthetics,” neither modification of existing structures nor construction of new structures is anticipated to result from adopting and implementing PAR 1470.  The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.   The proposed project simply allows additional time for operators of a specific category of engines to comply with control requirements.  Therefore, the proposed project would not result in any construction of new buildings or other structures that would require converting farmland to non-agricultural use or conflict with zoning for agricultural use or a Williamson Act contract.  Since the proposed project would not substantially change the facility or process for which the engines are utilized, there are no provisions in the proposed rule that would affect land use plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements relative to agricultural resources will be altered by the proposed project.

Based on the above consideration, significant adverse impacts to agriculture resources are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | #### No Impact |
| --- | --- | --- | --- |
| III. AIR QUALITY. Would the project: |  |  |  |
| a) Conflict with or obstruct implementation of the applicable air quality plan? |  |  |  |
| b) Violate any air quality standard or contribute to an existing or projected air quality violation? |  |  |  |
| c) Result in a cumulatively considerable net increase of any criteria pollutant for which the project region is non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions that exceed quantitative thresholds for ozone precursors)? |  |  |  |
| d) Expose sensitive receptors to substantial pollutant concentrations? |  |  |  |
| e) Create objectionable odors affecting a substantial number of people? |  |  |  |
| f) Diminish an existing air quality rule or future compliance requirement resulting in a significant increase in air pollutant(s)? |  |  |  |

Significance Criteria

Impacts will be evaluated and compared to the significance criteria in Table 2-1. If impacts equal or exceed any of the following criteria, they will be considered significant.

TABLE  2-1

Air Quality Significance Thresholds

| ###### Mass Daily Thresholds |  |  |
| --- | --- | --- |
| #### Pollutant | #### Construction | ##### Operation |
| NOx | 100 lbs/day | 55 lbs/day |
| VOC | 75 lbs/day | 55 lbs/day |
| PM10 | 150 lbs/day | 150 lbs/day |
| SOx | 150 lbs/day | 150 lbs/day |
| CO | 550 lbs/day | 550 lbs/day |
| Lead | 3 lbs/day | 3 lbs/day |
| ##### TAC, AHM, and Odor Thresholds |  |  |
| Toxic Air Contaminants (TACs, including carcinogens and non-carcinogens) | Maximum Incremental Cancer Risk > 10 in 1 million Hazard Index > 1.0 (project increment) Hazard Index > 3.0 (facility-wide) |  |
| Odor | Project creates an odor nuisance pursuant to SCAQMD Rule 402 |  |
| ##### Ambient Air Quality for Criteria Pollutants (a) |  |  |
| NO2 1-hour average annual average | In attainment; significant if project causes or contributes to an exceedance of any standard: 0.25 ppm (state) 0.053 ppm (federal) |  |
| PM10 24-hour average annual geometric average annual arithmetic mean | 10.4 g/m3 (recommended for construction) (b) 2.5 g/m3 (operation) 1.0 g/m3 20 g/m3 |  |
| Sulfate 24-hour average | 1 g/m3 |  |
| CO 1-hour average 8-hour average | In attainment; significant if project causes or contributes to an exceedance of any standard: 20 ppm (state) 9.0 ppm (state/federal) |  |

- Ambient air quality thresholds for criteria pollutants based on SCAQMD Rule 1303, Table A-2 unless otherwise stated.

- Ambient air quality threshold based on SCAQMD Rule 403.

PM10 = particulate matter less than 10 microns in size, ug/m3 = microgram per cubic meter;  pphm = parts per hundred million;  mg/m3 = milligram per cubic meter;  ppm = parts per million; TAC = toxic air contaminant; AHM = Acutely Hazardous Material. NO2 = Nitrogen Oxide, CO = Carbon Monoxide, VOC = Volatile Organic Compounds, SOx = Sulfur Oxide.

# Discussion

PAR 1470 will primarily extend the compliance date to lower diesel PM emissions by January 1, 2006 for a limited number of in-use (existing) emergency diesel-fueled DRP engines (greater than 50 brake horsepower) that are enrolled in an ISC prior to January 1, 2005.  It is anticipated that less than 600 engines in the district could be eligible for this extension and, as explained in item III.f. below, no more than 40 engines would operate on a peak daily basis during an emergency situation such as a rolling blackout. This is based on a 400 megawatt power curtailment, four to eight percent, 20 to 40 engines, would be affected on a daily basis.  The last power curtailment, or rolling blackout, occurred on May 8, 2001 and the peak daily outage lasted two and one-third hours.

The affected emergency engines are currently limited to 150 hours per year of operation and are located at existing facilities so no construction of new facilities or construction at existing facilities is anticipated to occur to specifically comply with PAR 1470. The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.

III. a): PAR 1470 would not conflict with or obstruct, air quality plan implementation.  The primary purpose of the SCAQMD’s AQMP is to control emissions to attain and maintain all federal and state ambient air quality standards for the district.  The 2003 AQMP concluded that major reductions in emissions of VOC and NOx are necessary to attain the air quality standards for ozone and PM10.

The proposed amendments will not interfere with achieving the following anticipated emission reductions by year 2020:  400 pounds per day of PM, 6,600 pounds per day of NOx, 600 pounds per day of VOC and 2,000 pounds per day of CO emissions. However, PAR 1470 is anticipated to delay the reduction of criteria pollutant emissions from certain diesel engines (see discussion in item III. f.) for one year and eight months from the original adoption date of this rule.  PAR 1470 does not affect the stringent PM controls on diesel stationary engines at or within 100 meters of schools.  Once the extended compliance date is reached, the rule will continue to reduce cancer risk from individual engines to less than or equal to ten in a million (10 x 10-6) by controlling the PM emissions from diesel engines.  These criteria pollutant and toxic emission reductions will contribute to the SCAQMD’s progress in attaining the ambient air quality standards for ozone and PM10 as well as reducing toxic risk.  As a result, implementing PAR 1470 will not conflict or obstruct AQMP implementation.

The SCAQMD approved an air toxics planning document in March 2000 called “Final Draft Air Toxics Control Plan (ATCP) for the Next Ten Years.”  PAR 1470 satisfies the following two mobile source control measures outlined in the ATCP: AT-MBL-03 – Control of Diesel Particulate Emissions Through After-Treatment, and AT-MBL-04 – Control of Diesel Particlate Emissions Through Engine Design Modification, by recommending different technologies and/or adjusting various parameters in engines to reduce diesel particulate emissions.  Examples of after-treatment technologies include diesel oxidation catalysts and diesel particulate filters.  High-pressure fuel injection, advanced timing, in-cylinder combustion modifications, air management, and fuel management are a few examples of engine modifications.  Although PAR 1470 temporarily delays emission reductions/risk reductions overall the anticipated emission/risk reductions will occur by 2020 so PAR 1470 is not inconsistent with the ATCP.

III. b) & d):  The proposed project would not violate any ambient air quality standards, but would temporarily delay originally anticipated emission reductions associated with a specific type of engine.  Emission reductions were not forwarded as part of the State Implementation Plan (SIP).  By delaying the compliance for certain in-use emergency engines to meet the required diesel PM standard, diesel PM emissions will not be reduced as soon as originally required.  The proposed compliance delay, however, will not result in an increase in emissions compared to the existing situation, but will allow a continuation of existing conditions for a specific class of engines.  Thus, ambient air quality standards are not anticipated to be violated significantly beyond the current PM10 exceedances in SCAQMD.  Diesel PM is considered a toxic air contaminant, however, a one year and eight month delay in the compliance date is not expected to have a significant adverse toxic effect on the local community near the affected engines since the delay period is considerably less than the 70-year exposure for which cancer risk is based.

III. c):  As already noted, implementing PAR 1470 is not expected to require construction to install control equipment or construction of new structures.  The operation of the affected engines is not expected to change from what is currently being performed.  The delay in compliance will forego emission reductions but the adverse impact will not be significant as outlined in subsection III (f).  Since PAR 1470 is not expected to generate significant adverse project-specific construction or operational air quality impacts, it is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project (CEQA Guidelines §15130(a)).  The proposed project’s contribution to a potentially significant cumulative impact is rendered less than cumulatively considerable and, thus, is not significant (CEQA Guidelines §15064(h)(2)).

III. e):  Objectionable odors are often associated with diesel exhaust emissions.  To the extent that PAR 1470 will delay the reduction of diesel PM emissions for certain engines, odors may continue to be experienced.  Since PAR 1470 is not allowing an increase in diesel PM emissions, odors are not expected to change from current conditions or get worse.  Since the affected engines are for emergency use only, the hours of operation of the affected engines is uncertain, however, the rule currently limits the operation of the affected engines at 150 hours per year.  The affected emergency engines have demonstrated a peak daily operation of less than three hours in one day.  The affected 560 engines are located throughout the district so odors are not expected to be a substantial concentrated nuisance.   After the compliance date is reached, it is expected that implementing Rule 1470 will provide a benefit by reducing population exposures from odors associated with diesel combustion.  Therefore, no significant adverse odor impacts are expected from implementing PAR 1470.

III. f):  The proposed project will temporarily diminish an existing air quality rule or future compliance requirement.  The rule language specifying timing of operating requirements and PM emission standards for in-use emergency standby diesel-fueled compression ignition DRP engines will be modified to extend the effective date from April 2, 2004 (original rule adoption date) to January 1, 2006 for engines enrolled in an ISC prior to January 1, 2005.  In order to calculate the estimated emission reductions foregone by delaying the compliance date for the affected engines, certain a series of assumptions were made.  Table 2-2 outlines those assumptions and Table 2-3 applies those assumptions into the calculation of emissions from the affected engines and the emission reductions foregone.  In addition to the assumptions listed in Table 2-2, since the engines affected by PAR 1470 are emergency standby engines it is assumed that they would operate during a power curtailment or rolling blackout.  The equation used to calculate the emissions as well as sources for assumptions made in Table 2-3 can be found below table’s footnotes.  CARB estimates that eight percent of the total diesel ICEs (560 diesel-fueled engines in the district) are enrolled in an ISC.

Based on the last rolling blackout that affected the Southern California area on May 8, 2001, the California Independent System Operator (ISO) posted a notification for a rotating power outage of 400 MW-hours.  Based on past data from the California ISO, the rotating outage lasted 2.33 hours.  It was assumed that the entire 400 MW was needed for the entire 2.33 hours and that engines enrolled in an ISC program would be used to make-up this forecasted energy shortfall during the rotating power outage.  This is a conservative assumption because, according to CARB, the typical hours of operation for affected engines are 3.5 hours per year.  It is estimated that up to 40 engines could be needed per day to provide the necessary power during a 400 MW power curtailment as demonstrated by the last rolling blackout.  The 40 engines represent eight percent of all diesel engines enrolled in an ISC program.  Based on engineering estimates, it was assumed that the representative engine size is 200 HP for engines between 50 to 500 HP, and the representative engine size is 550 HP for engines greater than 500 HP.

To estimate the potential emissions forgone from extending the compliance date for engines enrolled in an ISC program, it is assumed that if these engines were to comply with Rule 1470, diesel particulate filters would need to be installed.  In the April 2004 Staff Report, it is estimated that diesel particulate filters could achieve an 85 percent reduction in PM10, 10 percent reduction in NOx, 90 percent reduction in CO, and 95 percent reduction in VOC emissions.  If the 40 engines were to operate during a rotating outage it is estimated as shown in Table 2-3 that the NOx emissions forgone (emission reductions delayed) from not installing diesel particulate filters could be 9.03 pounds per day for PM10, 51.41 pounds per day for NOx, 99.92 pounds per day for CO, and 38.98 pounds per day for VOC.  The analysis concludes that the emission reductions foregone do not exceed the SCAQMD’s significance thresholds and, therefore, the adverse air quality impact from PAR 1470 is not significant.

Table 2-2

Assumptions Used to Calculate Estimated Emission Reductions Foregone

| Engine Load (percent) | 74 |
| --- | --- |
| ISC Hours (hours per day) | 2.331 |
| PM Emission Factor (grams per brake horsepower-hour) | 0.22 |
| NOx Emission Factor (grams per brake horsepower-hour) | 10.65 |
| CO Emission Factor (grams per brake horsepower-hour) | 2.30 |
| SOx Emission Factor (grams per brake horsepower-hour) | 0.162 |
| VOC Emission Factor (grams per brake horsepower-hour) | 0.85 |

1 A 400 MW power curtailment lasting 2.3 hours is assumed, based on the last rolling blackout which occurred on 5/8/01. The curtailment announcement was for a period of 2 hours and 20 minutes.

2 at 500 ppm sulfur

The air quality analysis is conservative because it does not account for the potential increase of NO2 from control equipment not being operated during the period of delayed compliance.  According to the previous air quality analysis of the proposed Rule (PR) 1470, the NO2 portion of the directly emitted NOx emissions from the control equipment of passive diesel particulate filters could increase by as much as 190 pounds per day.  While this estimated increase is the result of controlling all affected equipment from PR 1470, a portion of the NO2 emission increases would result from controlling engines affected by the current PAR 1470.

Based on the above consideration, significant adverse impacts to air quality are not expected from implementing PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

Table 2-3

Estimated Emission Reductions Foregone

| ENGINE DESCRIPTION | Number of Facilities | Total Diesel ICEs1 | Assumed Diesel ICEs with ISCs (8%)2 | ISC Engines Affected by 400 MW Curtailment2 | Assumed HP4 | PM10 Emissions (lbs/day) | NOx Emissions (lbs/day) | CO Emissions (lbs/day) | SOx Emissions (lbs/day) | VOC Emissions (lbs/day) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIESEL ICE (50-500 HP) | 3519 | 4643 | 371 | 27 | 200 | 4.44 | 214.7 | 46.37 | 3.23 | 17.14 |
| DIESEL ICE (>500 HP) | 1515 | 2354 | 188 | 13 | 550 | 6.18 | 299.36 | 64.65 | 4.50 | 23.89 |
| TOTAL AFFECTED ENGINES |  | 6997 | 560 | 403 |  |  |  |  |  |  |
| TOTAL EMISSIONS - 40 ENGINES5 (pounds per day) |  |  |  |  |  | 10.62 | 514.08 | 111.02 | 7.72 | 41.03 |
| PERCENT EMISSIONS FOREGONE6 (percent) |  |  |  |  |  | 85% | 10% | 90% | 0% | 95% |
| EMISSION REDUCTIONS FOREGONE (pounds per day) |  |  |  |  |  | 9.03 | 51.41 | 99.92 | 0.00 | 38.98 |
| SCAQMD SIGNIFICANCE THRESHOLDS (pounds per day) |  |  |  |  |  | 150 | 55 | 550 | 150 | 55 |
| SIGNIFICANT? |  |  |  |  |  | No | No | No | No | No |

Notes:

1.  "Total Diesel ICEs" represents stationary diesel engines in AQMD's permitting system.

2.  8% of diesel engines, or 560 engines, assumed to be in ISCs (per ARB staff report, Appendix B, p. B-7), of which 4 to 8 percent

would be affected by a 400 MW power curtailment.  (Per SCE data 118 customer groups, each representing 50 to 100 MW.  Therefore, 4 to 8 groups

affected.  560 engines / 118 groups ≈ 5 engines per group.  5 engines x 4 to 8 groups = 20 to 40 engines.  Analysis uses 40 engines)

- Emissions estimates represent 40 engines, corresponding to 1 SCE customer group = 50 MW of energy use.

- Average horsepower ratings based on 2003-04 estimates provided by AQMD E&C for PR 1470 development.

- Emissions Equation:  Emissions = Diesel ISCs x Assumed HP x Assumed Load x ISC Hours x EF

- Emission reductions foregone are 85% for PM10, 10% for NOx, 90% for CO, and 95% for HC, which represent DPF control efficiencies
 (PR 1470 Staff Report, p. 3-2).  No change in SOx emissions, so analysis assumes 0% of reductions foregone.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IV. BIOLOGICAL RESOURCES. Would the project: |  |  |  |
| a) Have a substantial adverse effect, either directly or through habitat modifications, on any species identified as a candidate, sensitive, or special status species in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |
| b) Have a substantial adverse effect on any riparian habitat or other sensitive natural community identified in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |
| c) Have a substantial adverse effect on federally protected wetlands as defined by §404 of the Clean Water Act (including, but not limited to, marsh, vernal pool, coastal, etc.) through direct removal, filling, hydrological interruption, or other means? |  |  |  |
| d) Interfere substantially with the movement of any native resident or migratory fish or wildlife species or with established native resident or migratory wildlife corridors, or impede the use of native wildlife nursery sites? |  |  |  |
| e) Conflicting with any local policies or ordinances protecting biological resources, such as a tree preservation policy or ordinance? |  |  |  |
| f) Conflict with the provisions of an adopted Habitat Conservation plan, Natural Community Conservation Plan, or other approved local, regional, or state habitat conservation plan? |  |  |  |

Significance Criteria

Impacts on biological resources will be considered significant if any of the following criteria apply:

The project results in a loss of plant communities or animal habitat considered to be rare, threatened or endangered by federal, state or local agencies.

The project interferes substantially with the movement of any resident or migratory wildlife species.

The project adversely affects aquatic communities through construction or operation of the project.

# Discussion

IV. a), b), d): The proposed rule is not expected to require any construction activities or construction of new structures and the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.  Therefore, PAR 1470 will have no direct or indirect impacts that could adversely affect plant or animal species or the habitats on which they rely in the SCAQMD’s jurisdiction.  PAR 1470 will primarily affect the operation of engines at existing facilities and the delay in compliance will not worsen the current operation or worsen present conditions of plant and animal life.  Further, PAR 1470 does not require acquisition of additional land or further conversions of riparian habitats or sensitive natural communities where endangered or sensitive species may be found.  Any changes to the existing physical environment would occur for business reasons, not as a result of implementing PAR 1470.

IV. c): Acquisition of protected wetlands is not expected to be necessary to control the emissions from diesel stationary engines.  Operators of affected engines would eventually install control equipment or reduce hours of operation which would not require removing, filling or interrupting any hydrological system or have an adverse effect on federally protected wetlands.

- e), f): There are no provisions in the proposed rule that would adversely affect land use plans, local policies or ordinances, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by the proposed project.  PAR 1470 would not affect in any way habitat conservation or natural community conservation plans, agricultural resources or operations, and would not create divisions in any existing communities.

Based on the above consideration, significant adverse impacts to biological resources are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| V. CULTURAL RESOURCES. Would the project: |  |  |  |
| - Cause a substantial adverse change in the significance of a historical resource as defined in §15064.5? |  |  |  |
| - Cause a substantial adverse change in the significance of an archaeological resource as defined in §15064.5? |  |  |  |
| - Directly or indirectly destroy a unique paleontological resource or site or unique geologic feature? |  |  |  |
| d) Disturb any human remains, including those interred outside a formal cemeteries? |  |  |  |

Significance Criteria

Impacts to cultural resources will be considered significant if:

The project results in the disturbance of a significant prehistoric or historic archaeological site or a property of historic or cultural significance to a community or ethnic or social group.

Unique paleontological resources are present that could be disturbed by construction of the proposed project.

The project would disturb human remains.

# Discussion

V. a) - d): There are existing laws in place that are designed to protect and mitigate potential impacts to cultural resources.  Operators of existing facilities with affected engines will not be required to perform major construction activities such as grading, trenching, etc., to comply with the proposed project, and the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.  Therefore, cultural resources would not be disturbed.  As a result, the proposed project has no potential to cause a substantial adverse change to a historical or archaeological resource, directly or indirectly destroy a unique paleontological resource or site or unique geologic feature, or disturb any human remains, including those interred outside a formal cemeteries.

Based on the above consideration, significant adverse impacts to cultural resources are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VI. ENERGY. Would the project: |  |  |  |
| a) Conflict with adopted energy conservation plans? |  |  |  |
| b) Result in the need for new or substantially altered power or natural gas utility systems? |  |  |  |
| c) Create any significant effects on local or regional energy supplies and on requirements for additional energy? |  |  |  |
| d) Create any significant effects on peak and base period demands for electricity and other forms of energy? |  |  |  |
| e) Comply with existing energy standards? |  |  |  |

Significance Criteria

Impacts to energy and mineral resources will be considered significant if any of the following criteria are met:

The project conflicts with adopted energy conservation plans or standards.

The project results in substantial depletion of existing energy resource supplies.

An increase in demand for utilities impacts the current capacities of the electric and natural gas utilities.

The project uses non-renewable resources in a wasteful and/or inefficient manner.

# Discussion

VI. a), e): The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking. Thus, PAR 1470 is will not conflict with adopted energy conservation plans and is expected to comply with existing energy conservation standards, to the extent that affected engines are subject to energy conservation standards.

VI. b), c), d): Implementation of PAR 1470 will not result in the need for new or substantially altered power or natural gas utility systems.  Effects of the proposed project on the electricity capacity are not expected to be substantial because affected engines are typically operated in emergency situations, so no significant adverse impacts on peak or base demands for electricity are anticipated.

Based on the above considerations, significant adverse impacts to energy are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VII. GEOLOGY AND SOILS. Would the project: |  |  |  |
| a) Expose people or structures to potential substantial adverse effects, including the risk of loss, injury, or death involving: |  |  |  |
| - Rupture of a known earthquake fault, as delineated on the most recent Alquist-Priolo Earthquake Fault Zoning Map issued by the State Geologist for the area or based on other substantial evidence of a known fault? |  |  |  |
| - Strong seismic ground shaking? |  |  |  |
| - Seismic–related ground failure, including liquefaction? |  |  |  |
| - Landslides? |  |  |  |
| b) Result in substantial soil erosion or the loss of topsoil? |  |  |  |
| c) Be located on a geologic unit or soil that is unstable or that would become unstable as a result of the project, and potentially result in on- or off-site landslide, lateral spreading, subsidence, liquefaction or collapse? |  |  |  |
| d) Be located on expansive soil, as defined in Table 18-1-B of the Uniform Building Code (1994), creating substantial risks to life or property? |  |  |  |
| e) Have soils incapable of adequately supporting the use of septic tanks or alternative waste water disposal systems where sewers are not available for the disposal of waste water? |  |  |  |

Significance Criteria

Impacts on the geological environment will be considered significant if any of the following criteria apply:

Topographic alterations would result in significant changes, disruptions, displacement, excavation, compaction or over covering of large amounts of soil.

Unique geological resources (paleontological resources or unique outcrops) are present that could be disturbed by the construction of the proposed project.

Exposure of people or structures to major geologic hazards such as earthquake surface rupture, ground shaking, liquefaction or landslides.

Secondary seismic effects could occur which could damage facility structures, e.g., liquefaction.

Other geological hazards exist which could adversely affect the facility, e.g., landslides, mudslides.

# Discussion

VII. a): In-use stationary engine operation takes place at existing affected facilities so PAR 1470 will not expose people to substantial geological effects greater than what they are exposed to already.  Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 will not expose people or structures to risks of loss, injury, or death involving: rupture of an earthquake fault, seismic ground shaking, ground failure or landslides.

VII. b): The proposed project will not require major construction activities (e.g., grading, trenching, refilling and repaving), so there no potential impacts to existing geophysical conditions are anticipated.  Because affected engines are primarily located at existing facilities on established foundations, no soil will need to be disrupted.  Therefore, no substantial soil erosion or loss of topsoil is expected from the existing affected facilities as a result of controlling emissions and toxic risk from diesel-fueled engines.

VII. c) & d):  Affected in-use engines are primarily located at existing affected facilities and, therefore, will not involve locating any structures on soil that is unstable or expansive.  However, as already noted, no soil disturbance is anticipated from the proposed rule, therefore, no further destabilization of unstable soils would be expected that could cause on- or off-site landslides, lateral spreading, subsidence, liquefaction or collapse.

VII. e):  The proposed project does not involve the installation of septic tanks or alternative waste water disposal systems.  Therefore, this type of soil impact will not occur.

Based on the above considerations, significant adverse impacts to geology and soils are not expected from implementing PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VIII. HAZARDS AND HAZARDOUS MATERIALS. Would the project: |  |  |  |
| a) Create a significant hazard to the public or the environment through the routine transport, use, and disposal of hazardous materials? |  |  |  |
| - Create a significant hazard to the public or the environment through reasonably foreseeable upset and accident conditions involving the release of hazardous materials into the environment? |  |  |  |
| - Emit hazardous emissions, or handle hazardous or acutely hazardous materials, substances, or waste within one-quarter mile of an existing or proposed school? |  |  |  |
| - Be located on a site which is included on a list of hazardous materials sites compiled pursuant to Government Code §65962.5 and, as a result, would create a significant hazard to the public or the environment? |  |  |  |
| - For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |
| - For a project within the vicinity of a private airstrip, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |
| - Impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan? |  |  |  |
| - Expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands? |  |  |  |
| - Significantly increased fire hazard in areas with flammable materials? |  |  |  |

Significance Criteria

Impacts associated with hazards will be considered significant if any of the following occur:

Non-compliance with any applicable design code or regulation.

Non-conformance to National Fire Protection Association standards.

Non-conformance to regulations or generally accepted industry practices related to operating policy and procedures concerning the design, construction, security, leak detection, spill containment or fire protection.

Exposure to hazardous chemicals in concentrations equal to or greater than the Emergency Response Planning Guideline (ERPG) 2 levels.

# Discussion

VIII. a), b), & c): Engine operations are not expected to change at the affected facilities except if the operator of a facility decides to reduce the number of emergency engine operational hours, in which case the amount of diesel-fuel burned will be reduced.  Rule 1470 will maintain an operational limit of 150 hours per year for the affected engines. Therefore, no additional transport of diesel fuel is expected.  The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking. Therefore, no additional transport of control equipment or waste from control equipment will result from PAR 1470. Consequently, proposed amended Rule 1470 will not create a significant new hazard to the public or create a reasonably foreseeable upset condition involving the release of hazardous materials.

VIII. d):  Government code §65962.5 refers to hazardous waste handling practices at facilities subject to the Resources Conservation and Recovery Act (RCRA).  If any affected facilities are identified on such a list, compliance with the proposed project is not expected to affect in any way any facility’s hazardous waste handling practices.

VIII. e) & f):  Regardless of whether or not affected facilities are located near airports or private airstrips, the proposed project will not create new safety hazards because the proposed project will only affect the operating characteristics of affected engines that operates on average less than 3.5 hours per year and may, in some cases, result in a reduction in the annual hours of operation.  No new hazards will be introduced at affected facilities that could create safety hazards at local airports or private airstrips.

VIII. g):  The proposed project is expected to require minor modifications to the operating characteristics of affected engines.  In the event that operators of affected engines use a different type of combustion fuel such as low sulfur diesel, adopted emergency response plans and emergency evacuation plans may need to be amended, but the proposed project is not expected to physically interfere with implementing an adopted emergency response plans and emergency evacuation plans.

VIII. h,) & i):  Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 is not expected to expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands.  Because engine operations are not expected to change substantially, except for possibly a reduction in the annual hours of operation, there will be no significant increase of fire hazards in areas with flammable materials than whatever currently exists already.

Based on the above considerations, significant adverse impacts to hazards and hazardous materials are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IX. HYDROLOGY AND WATER QUALITY. Would the project: |  |  |  |
| a) Violate any water quality standards or waste discharge requirements? |  |  |  |
| - Substantially deplete groundwater supplies or interfere substantially with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level (e.g. the production rate of pre-existing nearby wells would drop to a level which would not support existing land uses or planned uses for which permits have been granted)? |  |  |  |
| c) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, in a manner that would result in substantial erosion or siltation on- or off-site? |  |  |  |
| d) Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, or substantially increase the rate or amount of surface runoff in a manner that would result in flooding on- or off-site? |  |  |  |
| e) Create or contribute runoff water which would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff? |  |  |  |
| f) Otherwise substantially degrade water quality? |  |  |  |
| g) Place housing within a 100-year flood hazard area as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood hazard delineation map? |  |  |  |
| h) Place within a 100-year flood hazard area structures which would impede or redirect flood flaws? |  |  |  |
| i) Expose people or structures to a significant risk of loss, injury or death involving flooding, including flooding as a result of the failure of a levee or dam? |  |  |  |
| j) Inundation by seiche, tsunami, or mudflow? |  |  |  |
| k) Exceed wastewater treatment requirements of the applicable Regional Water Quality Control Board? |  |  |  |
| l) Require or result in the construction of new water or wastewater treatment facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |
| m) Require or result in the construction of new storm water drainage facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |
| n) Have sufficient water supplies available to serve the project from existing entitlements and resources, or are new or expanded entitlements needed? |  |  |  |
| o) Require in a determination by the wastewater treatment provider, which serves or may serve the project that it has adequate capacity to serve the project's projected demand in addition to the provider's existing commitments? |  |  |  |

Significance Criteria

Potential impacts on water resources will be considered significant if any of the following criteria apply:

Water Quality:

The project will cause degradation or depletion of ground water resources substantially affecting current or future uses.

The project will cause the degradation of surface water substantially affecting current or future uses.

The project will result in a violation of National Pollutant Discharge Elimination System (NPDES) permit requirements.

The capacities of existing or proposed wastewater treatment facilities and the sanitary sewer system are not sufficient to meet the needs of the project.

The project results in substantial increases in the area of impervious surfaces, such that interference with groundwater recharge efforts occurs.

The project results in alterations to the course or flow of floodwaters.

Water Demand:

The existing water supply does not have the capacity to meet the increased demands of the project, or the project would use a substantial amount of potable water.

The project increases demand for water by more than five million gallons per day.

# Discussion

IX. a), b), f), n), & o): The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.  In addition, PAR 1470 will have no direct or indirect impact on hydrology and water quality because operators at affected facilities are not expected to use water to a greater extent than they currently use for cleaning, etc., because air pollution control equipment and processes for affected engines typically do not involve the use of water.  Therefore, PAR 1470 will not adversely affect water resources, water quality standards, groundwater supplies, water quality degradation, existing water supplies or wastewater treatment facilities.

IX. c), d), e):  The proposed project would primarily affect stationary source diesel-fueled engines at existing facilities.  Consequently, no major construction activities will be necessary to comply with PAR 1470, so the proposed project will not alter any existing drainage patterns, increase the rate or amount of surface runoff water that would exceed the capacity of existing or planned stormwater drainage systems.

IX. g) & h): PAR 1470 does not involve construction of housing so it will not result in placing housing in a 100-year flood hazard areas that could create new flood hazards.  The proposed project would affect engines located at existing facilities with stationary diesel-fueled engines so any flood hazards would be part of the existing setting.

IX. i), j):  Since PAR 1470 primarily controls emissions or hours of operation of diesel engines located at existing facilities and does not require construction of new facilities, it will not create new flood risks or risks from seiches, tsunamis or mudflow conditions.  Any risks from seiches, tsunamis, or mudflows would be part of the existing setting.

IX. k): Because controlling emissions from affected engines does not require water, no changes to any existing wastewater treatment permits would be necessary.  As a result, the proposed project is not expected to affect any affected facility’s ability to comply with existing wastewater treatment requirements or conditions from any applicable Regional Water Quality Control Board or local sanitation district.

IX. l) & m): Because controlling emissions from affected engines does not require water as part of the control equipment or control process, no increase in wastewater from complying with the proposed project that could exceed the capacity of existing stormwater drainage systems or require the construction of new wastewater or stormwater drainage facilities is anticipated.

Based on the above considerations, significant adverse impacts to hydrology and water quality are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| X. LAND USE AND PLANNING. Would the project: |  |  |  |
| a) Physically divide an established community? |  |  |  |
| b) Conflict with any applicable land use plan, policy, or regulation of an agency with jurisdiction over the project (including, but not limited to the general plan, specific plan, local coastal program or zoning ordinance) adopted for the purpose of avoiding or mitigating an environmental effect? |  |  |  |
| c) Conflict with any applicable habitat conservation or natural community conservation plan? |  |  |  |

Significance Criteria

Land use and planning impacts will be considered significant if the project conflicts with the land use and zoning designations established by local jurisdictions.

# Discussion

X. a.): Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 will not create divisions in any existing communities because this provision applies generally to operations at existing facilities.  Similarly, the proposed project does not require construction of new structures that could physically divide an established community.  Any new structures would be built for reasons other than to comply with PAR 1470, such as starting a new, or relocating an existing business.

X. b), c): Operations at facilities with stationary diesel-fueled engines would still be expected to comply, and not interfere, with any applicable land use plans, zoning ordinances, habitat conservation or natural community conservation plans.  There are no provisions of the proposed project that would directly affect these plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no present or planned land uses in the region or planning requirements will be altered by the proposed project.

Based on the above considerations, significant adverse impacts to land use and planning are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XI. MINERAL RESOURCES. Would the project: |  |  |  |
| a) Result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state? |  |  |  |
| b) Result in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan? |  |  |  |

Significance Criteria

Project-related impacts on mineral resources will be considered significant if any of the following conditions are met:

The project would result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state.

The proposed project results in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.

# Discussion

XI. a), b): There are no provisions of the proposed rule that would directly result in the loss of availability of a known mineral resource, such as aggregate, coal, shale, etc., of value to the region and the residents of the state, or of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan. PAR 1470 delays the compliance date for certain emergency engines and does not require additional control that would need a mineral resource to comply.  Based on the above considerations, significant adverse impacts to mineral resources are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XII. NOISE. Would the project result in: |  |  |  |
| a) Exposure of persons to or generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies? |  |  |  |
| b) Exposure of persons to or generation of excessive groundborne vibration or groundborne noise levels? |  |  |  |
| c) A substantial permanent increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| d) A substantial temporary or periodic increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |
| f) For a project within the vicinity of a private airship, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |

Significance Criteria

Impacts on noise will be considered significant if:

Construction noise levels exceed the local noise ordinances or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three decibels (dBA) at the site boundary.  Construction noise levels will be considered significant if they exceed federal Occupational Safety and Health Administration (OSHA) noise standards for workers.

The proposed project operational noise levels exceed any of the local noise ordinances at the site boundary or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three dBA at the site boundary.

# Discussion

XII. a), b), c) & d): Operation of diesel engines typically results in the generation of a certain amount of noise.  The noise level will not change as result of the delay of the compliance date unless the operator of the emergency engine chooses to reduce the engine’s hours of operation at affected facilities.  PAR 1470 will not change the 150 hours per year operational limit on the affected sources.  Therefore, implementation of PAR 1470 will not generate additional or new noise, excessive groundborne vibration, or substantially increase ambient noise levels beyond existing levels.  Even if installation of control equipment was not delayed for affected equipment, noise level are not expected to change since control equipment and control processes for affected engines are not typically noise intensive.  Operators of affected engines who do choose to operate equipment fewer hours per year, will reduce the number of hours an engine will produce noise or any vibration, which is considered to be a benefit.  As a result, the proposed rule would have no new or additional noise impacts, but may produce beneficial effects relative to noise produced by affected engines.

XII. e) & f): As indicated in the preceding discussion, noise levels will either not change or will decline as a result of the proposed project and, therefore, will have a neutral effect on noise levels from affected engines at facilities that may be located within two miles of an airport or private airstrip.

Based on the above considerations, significant adverse impacts to noise are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIII. POPULATION AND HOUSING. Would the project: |  |  |  |
| a) Induce substantial growth in an area either directly (for example, by proposing new homes and businesses) or indirectly (e.g. through extension of roads or other infrastructure)? |  |  |  |
| b) Displace substantial numbers of existing housing, necessitating the construction of replacement housing elsewhere? |  |  |  |
| c) Displace substantial numbers of people, necessitating the construction of replacement housing elsewhere? |  |  |  |

Significance Criteria

Impacts of the proposed project on population and housing will be considered significant if the following criteria are exceeded:

The demand for temporary or permanent housing exceeds the existing supply.

The proposed project produces additional population, housing or employment inconsistent with adopted plans either in terms of overall amount or location.

# Discussion

XIII. a), b), c):  Human population in the SCAQMD’s jurisdiction is anticipated to grow regardless of implementing the proposed project.  The proposal would control emissions from existing diesel-fueled engines, which will not require additional employees for construction since future compliance activities will only require minor modifications to existing equipment.  Similarly, additional employees would not be required during operation because the proposed project will have little effect on the current operation of affected equipment.  District population will not be affected directly or indirectly as a result of adopting and implementing the proposed amended rule.  Further, controlling engine emissions will not indirectly induce growth in the area of facilities with affected engines.  The construction of single- or multiple-family housing units would not be required as a result of implementing the proposed project since no new employees will be required at affected facilities.  The proposed project will not require relocation of affected engines or facilities, so existing housing or populations in the district are not anticipated to be displaced necessitating the construction of replacement housing elsewhere.

Based on the above considerations, significant adverse impacts to population and housing are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIV. PUBLIC SERVICES. Would the proposal result in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response times or other performance objectives for any of the following public services: |  |  |  |
| a) Fire protection? |  |  |  |
| b) Police protection? |  |  |  |
| c) Schools? |  |  |  |
| d) Parks? |  |  |  |
| e) Other public facilities? |  |  |  |

Significance Criteria

Impacts on public services will be considered significant if the project results in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, or the need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response time or other performance objectives.

# Discussion

XIV. a) & b): PAR 1470 will not involve the use of acutely hazardous materials.  Further, PAR 1470 affects engines that operate on average less than 3.5 hours per year.  As a result, no new fire hazards or increased use of hazardous materials would be introduced at existing affected facilities.  Thus, no new demands for fire or police protection are expected from PAR 1470 since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking.

XIV. c), d):  As noted in the “Population and Housing” discussion, implementing PAR 1470 will not require new employees for construction because no major construction is necessary to delay the compliance date for certain emergency engines.  Similarly, no new employees will be required to maintain operation of affected engines.  As a result, PAR 1470 will have no direct or indirect effects on population growth in the district.  Consequently, no new impacts to schools, parks or other recreational facilities are foreseen as a result of implementing the proposed amended Rule 1470.

XIV. e):  Because the future installation of control equipment only requires minor modifications to affected engines, the proposal would not result in the need for new or physically altered government facilities in order to maintain acceptable service ratios, response times or other performance objectives.

Based on the above considerations, significant adverse impacts to public services are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XV. RECREATION. |  |  |  |
| a) Would the project increase the use of existing neighborhood and regional parks or other recreational facilities such that substantial physical deterioration of the facility would occur or be accelerated.? |  |  |  |
| b) Does the project include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment? |  |  |  |

Significance Criteria

Impacts to recreation will be considered significant if:

The project results in an increased demand for neighborhood or regional parks or other recreational facilities.

The project adversely effects existing recreational opportunities.

# Discussion

XV. a) & b): As discussed under “Land Use and Planning” above, there are no provisions in the proposed project that would affect land use plans, policies or ordinances, or regulations.  Land use and other planning considerations are determined by local governments; no land use or planning requirements will be altered by the proposal.  As already noted in item XII, Population and Housing, the proposed project is not expected to increase population growth in the district because no additional employees would be required at affected facilities, either for construction or operation, so no additional demand for recreation facilities is anticipated.  Further, the proposed amended rule would not increase the use of existing neighborhood and regional parks or other recreational facilities or include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment.

Based on the above considerations, significant adverse impacts to recreation are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact |  | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- | --- |
| XVI. SOLID/HAZARDOUS WASTE. Would the project: |  |  |  |  |
| a) Be served by a landfill with sufficient permitted capacity to accommodate the project’s solid waste disposal needs? |  |  |  |  |
| b) Comply with federal, state, and local statutes and regulations related to solid and hazardous waste? |  |  |  |  |

Significance Criteria

The proposed project impacts on solid/hazardous waste will be considered significant if the following occur:

The generation and disposal of hazardous and non-hazardous waste exceeds the capacity of designated landfills.

# Discussion

XVI. a): The proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking so PAR 1470 not change the project’s current solid waste disposal needs.

XVI. b): It is expected that PAR 1470 will have no effect on an operator’s ability to comply with relevant statutes and regulations related to solid and hazardous wastes.  Consequently, it is anticipated that operators of affected facilities would continue to comply with federal, state, and local statutes and regulations related to solid and hazardous waste handling and disposal.  Therefore, potential solid waste impacts are considered not significant.

Based on the above consideration, significant adverse impacts to solid/hazardous waste are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVII. TRANSPORTATION/CIRCULATION Would the project: |  |  |  |
| a) Cause an increase in traffic which is substantial in relation to the existing traffic load and capacity of the street system (i.e., result in a substantial increase in either the number of vehicle trips, the volume to capacity ratio on roads, or congestion at intersections)? |  |  |  |
| - Exceed, either individually or cumulatively, a level of service standard established by the county congestion management agency for designated roads or highways? |  |  |  |
| - Result in a change in air traffic patterns, including either an increase in traffic levels or a change in location that results in substantial safety risks? |  |  |  |
| - Substantially increase hazards due to a design feature (e.g. sharp curves or dangerous intersections) or incompatible uses (e.g. farm equipment)? |  |  |  |
| e) Result in inadequate emergency access? |  |  |  |
| f) Result in inadequate parking capacity? |  |  |  |
| g) Conflict with adopted policies, plans, or programs supporting alternative transportation (e.g. bus turnouts, bicycle racks)? |  |  |  |

Significance Criteria

Impacts on transportation/traffic will be considered significant if any of the following criteria apply:

Peak period levels on major arterials are disrupted to a point where level of service (LOS) is reduced to D, E or F for more than one month.

An intersection’s volume to capacity ratio increase by 0.02 (two percent) or more when the LOS is already D, E or F.

A major roadway is closed to all through traffic, and no alternate route is available.

There is an increase in traffic that is substantial in relation to the existing traffic load and capacity of the street system.

The demand for parking facilities is substantially increased.

Water borne, rail car or air traffic is substantially altered.

Traffic hazards to motor vehicles, bicyclists or pedestrians are substantially increased.

The need for more than 350 employees

An increase in heavy-duty transport truck traffic to and/or from the facility by more than 350 truck round trips per day

Increase customer traffic by more than 700 visits per day.

# Discussion

XVII. a), b), f): As noted in the “Discussion” sections of other environmental topics compliance with PAR 1470 is not expected to require major construction to install control equipment, either to the equipment or at the site, e.g., site preparation, construction, etc.  Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 will not required additional delivery of control equipment or additional transport for workers to install control equipment.  Continuing operation of affected engines will add no new trips because no new employees are expected to be required.

XVII. c):  Air traffic patterns are not expected to be directly or indirectly affected by the proposed rule because control requirements for affected engines do not involve transport of control equipment by air nor will operation of existing engines interfere with air traffic.  All applicable local, state and federal requirements would continue to be complied with so no increase in any safety risks is expected.

XVII. d), e): Proposed amended Rule 1470 does not have direct or indirect impacts on specific construction design features because the proposed project does not require or induce the construction of any roadways or other transportation design features.  Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 would not substantially change current engine operation.

XVII. g): Affected facilities would still be expected to comply with, and not interfere with adopted policies, plans, or programs supporting alternative transportation. Since the proposed rule amendments will not require any additional installations of emission control devices beyond those expected from the original rulemaking, PAR 1470 will not hinder compliance with any applicable alternative transportation plans or policies.

Based on the above considerations, significant adverse impacts to transportation/circulation are not expected from PAR 1470.  Since there are no significant adverse impacts, no mitigation measures are required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVIII. MANDATORY FINDINGS OF SIGNIFICANCE. |  |  |  |
| a) Does the project have the potential to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self-sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal or eliminate important examples of the major periods of California history or prehistory? |  |  |  |
| - Does the project have impacts that are individually limited, but cumulatively considerable? ("Cumulatively considerable" means that the incremental effects of a project are considerable when viewed in connection with the effects of past projects, the effects of other current projects, and the effects of probable future projects) |  |  |  |
| c) Does the project have environmental effects that will cause substantial adverse effects on human beings, either directly or indirectly? |  |  |  |

# Discussion

XVIII. a): As discussed in items I through XVII above, the PAR 1470 has no potential to cause significant adverse environmental effects because the estimated emission reductions foregone from the delay in compliance date for certain affected engines are less than significant.  Therefore, the proposed project is not expected to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal.  Similarly, PAR 1470 would not eliminate important examples of the major periods of California history or prehistory or otherwise degrade cultural resources.

XVIII.b)  Based on the foregoing analyses, since PAR 1470 will not result in project-specific significant environmental impacts, PAR 1470 is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project.  Furthermore, PAR 1470 impacts will not be "cumulatively considerable" because the incremental impacts are not considerable when viewed in connection with the effects of past, current, or probable future projects.

XVIII.c)  Based on the foregoing analyses, PAR 1470 is not expected to cause significant adverse effects on human beings, either directly, or indirectly.

A P P E N D I X   A

P R O P O S E D   A M E N D E D   R U L E   1 4 7 0

In order to save space and avoid repetition, please refer to the latest version of the proposed amended Rule 1470 located elsewhere in the final rule package.  The “PAR 1470c” version of the proposed amended rule was circulated with the Draft EA that was released on January 18, 2005 for a 30-day public review and comment period ending February 16, 2005.

Original hard copies of the Draft EA, which include the “PAR 1470c” version of the proposed amended rule, can be obtained through the SCAQMD Public Information Center at the Diamond Bar headquarters or by calling (909) 396-2039.